Date:  February 27, 2019

- ADDENDUM NO. 1

To Project Bidding Documents for:

CLOUD PRESCHOOL RELOCATABLES

BID NO.182-18/19	DSA Appl. No. 03-119149

LA CRESCENTA, CA	DSA File No. 19-41

tBP Proj. No. 20778.10

tBP/ARCHITECTURE

4611 Teller Avenue

Newport Beach, CA  92660

949/673-0300

TO:  PROSPECTIVE BIDDERS

This Addendum forms a part of the Contract Documents and modifies the original Drawings dated January 7, 2019. Acknowledge receipt of this Addendum in space provided on the Bid Form. Failure to acknowledge may subject Bidder to disqualification.

BID FORM CHANGE:

Provide a $10,000 allowance for rock removal.

CHANGES TO DRAWINGS

1.	SHEET C-1.1 EXISTING CONDITIONS

Replace full size sheet Drawing C-1.1 in its entirety, issued with this addendum.

2.	SHEET CD-1.0 SITE DEMOLITIONS PLAN

Replace full size sheet Drawing CD-1.0 in its entirety, issued with this addendum.

3.	SHEET C-2.0 SITE CONTROL PLAN

Replace full size sheet Drawing C-2.0 in its entirety, issued with this addendum.

4.	SHEET C-3.0 SITE GRADING PLAN

Replace full size sheet Drawing C-3.0 in its entirety, issued with this addendum.

5.	SHEET C-4.0 SITE UTILITY PLAN

Replace full size sheet Drawing C-4.0 in its entirety, issued with this addendum.

6.	SHEET AS-2 DEMOLITION SITE PLAN

Replace full size sheet Drawing AS-2 in its entirety, issued with this addendum.

7.	SHEET AS-3 ENLARGE SITE PLAN

Replace full size sheet Drawing AS-3 in its entirety, issued with this addendum.

8.	SHEET AS-5 SITE DETAILS

Replace full size sheet Drawing AS-5 in its entirety, issued with this addendum.

9.	SHEET A1-1 FLOOR PLAN

Replace full size sheet Drawing A1-1 in its entirety, issued with this addendum.

10.	SHEET A6-1 DOOR SCHEDULE & DETAILS

Replace full size sheet Drawing A6-1 in its entirety, issued with this addendum.

11.	SHEET M2.1 MECHANICAL FLOOR PLAN

Replace full size sheet Drawing M2.1 in its entirety, issued with this addendum.

12.	SHEET P0.1 PLUMBING LEGEND, SCHEDULES & GENERAL NOTES

Replace full size sheet Drawing P0.1 in its entirety, issued with this addendum.

13.	SHEET P2.1 PLUMBING FLOOR PLAN

Replace full size sheet Drawing P2.1 in its entirety, issued with this addendum.

14.	SHEET E-2.1 SITE ELECTRICAL PLANS AND DETAILS

Replace full size sheet Drawing E2.1 in its entirety, issued with this addendum.

15.	SHEET E2.2 SITE ELECTRICAL PLANS AND DETAILS

Replace full size sheet Drawing E2.2 in its entirety, issued with this addendum.

16.	SHEET E3 SINGLE LINE DIAGRAM AND DETAILS

Replace full size sheet Drawing E3 in its entirety, issued with this addendum.

17.	SHEET E7 LIGHTING CONTROL DIAGRAM

Replace full size sheet Drawing E7 in its entirety, issued with this addendum.

- ATTACHMENTS

The following attachments are a part of Addendum No. 1:

1.	 Full Size Sheets (30” x 42”): (Total 17)                                   tBP/Architecture

C-1.1

CD-1.0

C-2.0

C-3.0

C-4.0

AS-2

AS-3

AS-5

A1-1

A6-1

M2.1

P0.1

P2.1

E-2.1

E-2.2

E-3

E-7