| IDAHO SCHOOL BOARD ASSOCIATION Moreton & Company ## safety & loss Control Consulting Services School Campus Safety Inspection Report Date of Inspection: _____________________ Campus________________________ |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | YES | NO | N/A | WORK ORDER | COMMENTS |
| EXTERIOR |  |  |  |  |  |
| EXITS/ENTRANCE DOORS |  |  |  |  |  |
| Regular and alternate fire escapes posted in classrooms. |  |  |  |  |  |
| Ways of egress clearly marked with exit signs and/or arrows. |  |  |  |  |  |
| Exit doors marked with exit lights as required. |  |  |  |  |  |
| Emergency exit lights tested monthly. |  |  |  |  |  |
| Doors equipped with panic hardware. |  |  |  |  |  |
| Rooms equipped with doors that can be opened from the inside without a key. |  |  |  |  |  |
| Stairways and steps with more than four risers equipped with standard railings. |  |  |  |  |  |
| Exterior doors locked and latched per campus security plan. |  |  |  |  |  |
| Sidewalks and steps maintained. |  |  |  |  |  |
| FENCING |  |  |  |  |  |
| Gates operable, lockable, intact. |  |  |  |  |  |
| SIGNS |  |  |  |  |  |
| Visible/Readable |  |  |  |  |  |
| PLAYGROUNDS (to be completed for Elementary Schools only) |  |  |  |  |  |
| Do surfaces around playground equipment have at least 10” to 12” of cushioning material such as wood chips, sand, or pea gravel, or equipped with rubber mats approved for playground use? |  |  |  |  |  |
| Does the protective cushioning material extend at least 6 feet from the playground equipment? |  |  |  |  |  |
| For swing set installations, does the cushioning material extend a distance that is at least twice the height of the swings horizontal bar, both in front and in rear of the swing set? |  |  |  |  |  |
| Are play structures that are more than 30 inches in height spaced at least 9 feet apart? |  |  |  |  |  |
|  | YES | NO | N/A | WORK ORDER | COMMENTS |
| Is there any dangerous or worn-out hardware ie; open “S” hooks, or loose or protruding bolts? |  |  |  |  |  |
| Are there any “spaces” that are larger than 3 ½ inches or smaller than 9 inches that could entrap a child’s head? |  |  |  |  |  |
| Are there any sharp points or edges? |  |  |  |  |  |
| Are there any trip and fall hazards? |  |  |  |  |  |
| PAVED SURFACES/PARKING LOT |  |  |  |  |  |
| Surface intact, proper drainage. |  |  |  |  |  |
| Storm drains clear. |  |  |  |  |  |
| Markings/striping clearly marked. |  |  |  |  |  |
| Crosswalks provided. |  |  |  |  |  |
| Walkways cleared of trip and fall hazards. |  |  |  |  |  |
| STREET LIGHTING |  |  |  |  |  |
| Lights in proper working condition. |  |  |  |  |  |
| ROOF |  |  |  |  |  |
| Gutters, downspouts. |  |  |  |  |  |
| STAIRS/RAMPS |  |  |  |  |  |
| Tripping hazards. |  |  |  |  |  |
| Properly lighted. |  |  |  |  |  |
| Handrails secure. |  |  |  |  |  |
| INTERIOR |  |  |  |  |  |
| EMERGENCY REQUIREMENTS |  |  |  |  |  |
| First aid kits. |  |  |  |  |  |
| Eye wash stations. |  |  |  |  |  |
| Emergency telephone numbers posted in every room. |  |  |  |  |  |
| BOILERS |  |  |  |  |  |
| Current certification of inspection been posted in the boiler room. |  |  |  |  |  |
| Hot water heaters equipped with pressure relief valves. |  |  |  |  |  |
| HAZARDOUS MATERIALS |  |  |  |  |  |
| Storage of 5 gallons or less of flammable and combustible liquids contained in approved safety containers. |  |  |  |  |  |
| Storage of more than 5 gallons of flammable liquids stored in approved flammable liquid storage cabinets |  |  |  |  |  |
| WALLS |  |  |  |  |  |
| No more than 15% of interior wall volume covered with combustible material. |  |  |  |  |  |
| Cracking, mold, mildew, fungus present. |  |  |  |  |  |
|  | YES | NO | N/A | WORK ORDER | COMMENTS |
| Chemical storage areas including all janitors closets secured and locked |  |  |  |  |  |
| All containers properly labeled with the hazards and precautions of using its contents |  |  |  |  |  |
| "NO SMOKING" signs posted |  |  |  |  |  |
| All spray painting conducted in an approved spray booth or spray area with adequate ventilation. |  |  |  |  |  |
| EXTINGUISHERS |  |  |  |  |  |
| Monthly inspections control valves for automatic fire sprinklers. |  |  |  |  |  |
| Adequate supply of spare sprinkler heads |  |  |  |  |  |
| Extinguishers rotated to keep contents from settling monthly. Date tag signed each month |  |  |  |  |  |
| 24 inch clearance for all fire sprinkler heads. |  |  |  |  |  |
| WELDING AND CUTTING |  |  |  |  |  |
| Hot work permit program in place |  |  |  |  |  |
| RESTROOMS |  |  |  |  |  |
| Mildew, mold, fungus present. |  |  |  |  |  |
| Ventilation proper. |  |  |  |  |  |
| Toilet partitions intact. |  |  |  |  |  |

| SYSTEMS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TELEPHONES |  |  |  |  |  |  |  |
| Proper working condition. |  |  |  |  |  |  |  |
| 911 emergency notification system in proper working conditions, and tested 1 time per month |  |  |  |  |  |  |  |
| FIRE ALARM |  |  |  |  |  |  |  |
| Panel properly visible. |  |  |  |  |  |  |  |
| Operational. |  |  |  |  |  |  |  |
| Monthly test documented. |  |  |  |  |  |  |  |
| ELECTRICAL |  |  |  |  |  |  |  |
| All portable electrical tools grounded or doubly insulated. |  |  |  |  |  |  |  |
| All electrical appliances grounded. |  |  |  |  |  |  |  |
| Extension cords used only for temporary power. |  |  |  |  |  |  |  |
| Main switch panel identified. |  |  |  |  |  |  |  |
| Circuit breakers in main panel marked. |  |  |  |  |  |  |  |
| Are any circuit breakers hot to the touch? |  |  |  |  |  |  |  |
| All panel boards, junction boxes covered? |  |  |  |  |  |  |  |
|  | YES | NO |  | N/A | WORK ORDER |  | COMMENTS |
| Are all electrical receptacles within 6 feet of sink, tub or shower equipped with GFCI protection? |  |  |  |  |  |  |  |
| Is housekeeping in all electrical rooms appropriately maintained and free of flammable or combustible materials? |  |  |  |  |  |  |  |
| 36” clear work area in front of electrical panels. |  |  |  |  |  |  |  |
| Is any open electrical wiring visible? |  |  |  |  |  |  |  |

| Building Inspection Dated and Posted |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

| Approval: |  |  | Date: |  | Approval: |  |  | Date: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Campus Safety Inspection Report

Grades 6 through 12

Date of Inspection___________		Campus_____________________

|  | YES | NO | N/A | WORK ORDER | COMMENTS |
| --- | --- | --- | --- | --- | --- |
| SCIENCE LABS |  |  |  |  |  |
| Chemical Hygiene Plan in Place |  |  |  |  |  |
| Chemical storage area secured and locked |  |  |  |  |  |
| Is chemical storage area neat and well maintained? |  |  |  |  |  |
| Chemicals properly labeled |  |  |  |  |  |
| MSDS available for all hazardous materials |  |  |  |  |  |
| Chemical spill kit available |  |  |  |  |  |
| Chemical inventory up to date and completed within last 12 months |  |  |  |  |  |
| Chemicals stored by trait |  |  |  |  |  |
| Earthquake lips provided on chemical storage shelves |  |  |  |  |  |
| Are flammable liquids stored in approved flammable cabinet? |  |  |  |  |  |
| LPG valves that provide fuel for Bunsen burners locked in the closed position unless required for that day’s lab activities |  |  |  |  |  |
| Fume hood work in proper working condition, and free of storage |  |  |  |  |  |
| Is there an adequate supply of personal protective equipment including chemical goggles, safety glasses, aprons, and gloves available? |  |  |  |  |  |
| Are emergency showers and eye wash stations available and in proper working condition? |  |  |  |  |  |
|  | YES | NO | N/A | WORK ORDER | COMMENTS |
| VOCATIONAL EDUCATION |  |  |  |  |  |
| Are all fixed machinery properly anchored? |  |  |  |  |  |
| Is proper lockout tag out procedures used when repairing, adjusting power tools? |  |  |  |  |  |
| Are all drive belts, chains, pulleys, sprockets, and shafts provided with proper point of operation guards? |  |  |  |  |  |
| Are appropriate housekeeping levels maintained? |  |  |  |  |  |
| Is there an adequate supply of personal protective equipment including, safety glasses, aprons, and gloves available? |  |  |  |  |  |
| Are all portable electrical tools equipped with grounded plugs or marked as double insulated? |  |  |  |  |  |
| Are all electrical extension cords equipped with ground plugs and free of frayed or torn insulation? |  |  |  |  |  |
| Is all spray finishing completed in an approved spray booth? |  |  |  |  |  |
| Do bench-pedestal grinders have tool rests, enclosed arbor ends, and tongue guards and are they adjusted to 1/8 from the grindstone? |  |  |  |  |  |
| Are stain rags disposed in metal containers with self-closing lids, and emptied each day after school? |  |  |  |  |  |
| Is all wood cutting, milling, and sanding equipment provided with a dust collection system? |  |  |  |  |  |
| WOODSHOP |  |  |  |  |  |
| Are table saws equipped with blade guards, spreaders and anti-kick back devices when ripping or cross cutting? |  |  |  |  |  |
| Do all miter-box saws have hood blade guards? |  |  |  |  |  |
|  | YES | NO | N/A | WORK ORDER | COMMENTS |
| Are power planers equipped with anti-kick back devices and marked at feed end? |  |  |  |  |  |
| Does planer-joiner have a guard that protects the cutting head, and that returns automatically to its fence? |  |  |  |  |  |
| Do routers mounted onto tables and shapers have point of operation guards to protect their cutting heads? |  |  |  |  |  |
| Are lathes equipped with chip guards? |  |  |  |  |  |
| METAL, AUTO & AG SHOPS |  |  |  |  |  |
| Are all combustible materials located at least 25’ from welding & cutting? |  |  |  |  |  |
| Are all welding leads and hoses in good condition and inspected before use? |  |  |  |  |  |
| Are all compressed gas cylinders secured in the upright position to the building? |  |  |  |  |  |
| Are the spare oxygen and acetylene cylinders separated by at least 20’? |  |  |  |  |  |
| Is there an adequate supply of welding helmets with a tint rating of 12 or greater available for arc or wire feed welding? |  |  |  |  |  |
| Are welding goggles with a tint rating of 6 or greater available for gas welding or cutting? |  |  |  |  |  |
| Are welding areas provided with forced mechanical ventilation? |  |  |  |  |  |
| Are protective welding curtains, or partitions available to protect from flash-burns from the ultra violet light? |  |  |  |  |  |
| Do all metal cutting, punching, or forming machines have point of operation guards, two hand trips, or presence relays? |  |  |  |  |  |
|  | YES | NO | N/A | WORK ORDER | COMMENTS |
| Do all overhead hoists, cranes, and engine hoists have safety hooks? |  |  |  |  |  |
| Are all angle grinders equipped with ½ moon guards? |  |  |  |  |  |
| Are proper jack-stands used to raise vehicles? |  |  |  |  |  |
| Are all vehicles equipped with wheel chocks? |  |  |  |  |  |
| FINE ARTS & CRAFTS |  |  |  |  |  |
| No more than 15% of wall volume covered with combustible decorations |  |  |  |  |  |
| Ceramic Kilns have 18” to 24” of clear space between kiln and combustible materials / construction |  |  |  |  |  |
| Are pug mills equipped with safety interlock devices? |  |  |  |  |  |
| All flammable liquids safely stored in approved cabinets |  |  |  |  |  |
| Are glazes containing lead prohibited? |  |  |  |  |  |
| PHYSICAL EDUCATION |  |  |  |  |  |
| Is weight training area secured when not supervised by teacher or coach? |  |  |  |  |  |
| Are weight benches, and squat racks in good condition? |  |  |  |  |  |
| Are safety collars fitted to each end of all free weights? |  |  |  |  |  |
| Are bleacher seats and floor boards in good condition and free of cracks, splits, or slivers? |  |  |  |  |  |
| Are bleachers with seat heights over 30” equipped with safety rails along the back of the bleachers as well as along both sides? |  |  |  |  |  |
| Does safety railing meet CPSC guidelines? |  |  |  |  |  |
| Are bleacher sets with 11 or more seat rows equipped with handrails? |  |  |  |  |  |
| Are all portable backstops, soccer goals secured to the ground to prevent accidental tip-over? |  |  |  |  |  |

| Approval: |  |  | Date: |  | Approval: |  |  | Date: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

NOTES.